## Slide 1: Atomic Beam Source for the nEDM@SNS Experiment
Mark Broering for MIT ABS team on behalf of nEDM@SNS
Les Houches nEDM 2021 Conference
February 18th, 2021

## Slide 2: Outline
Background
  Overall goal of the experiment
  How the atomic beam source, as part of the 3He services, helps to achieve this
Polarized 3He experimental requirements
Atomic beam source apparatus
Needle nozzle configuration
  Simulations
  Measurements
Microchannel (MC) plate nozzle configuration
  Simulations
  Measurements

## Slide 3: The Target Cells
nEDM@SNS goal: achieve a sensitivity to the neutron electric dipole moment at or below .
Neutrons are down-scattered to UCNs in two acrylic target cells containing superfluid helium.
Spin polarized 3He is also injected into the volume where both species precess freely.
Neutron-3He capture cross-section is spin dependent.
Spin dressing techniques* are used to ensure the capture rate depends on the nEDM.
  *Raymond Tat talk on spin dressing on Friday.
Electric Field
Magnetic Field
Image credit: Takeyasu Ito, personal communication (original modified)

## Slide 4: 3He Services
Diagram of the 3He services subsystem.
Red: 3He polarization and injection system.
Concerned with the first three items:
  Atomic beam source (ABS), ABS interface, and the injection volume.
ABS spin polarizes the 3He at ~1K with some background leakage.
ABS Interface guides spin polarized helium to injection volume.
  Contains carbon pumps to reduce the amount of background 3He.
At the injection volume, the 3He mixes with the superfluid 4He.
ABS Interface

## Slide 5: 3He Services
ABS Interface
ABS Interface
Diagram of the 3He services subsystem.
Red: 3He polarization and injection system.
Concerned with the first three items:
  Atomic beam source (ABS), ABS interface, and the injection volume.
ABS spin polarizes the 3He at ~1K with some background leakage.
ABS Interface guides spin polarized helium to injection volume.
  Contains carbon pumps to reduce the amount of background 3He.
At the injection volume, the 3He mixes with the superfluid 4He.

## Slide 6: Polarized 3He
Experiment requires 3He polarized to >=95%.
This is difficult to achieve with optical pumping techniques.
Therefore, an atomic beam source using a permanent magnet quadrupole was designed.
This system needs to provide polarized 3He to the measurement cells with a flux of ~1014 atoms/s.
It is currently horizontal, but ultimately will be vertical.

## Slide 7: Atomic Beam Source Schematic
Cold head cools 3He to ~1K.
If gas touches any walls, it warms up.
Skimmers catch atoms that have no chance of making it through the quadrupole while cold.
Skimmers create “soft” separation between chambers.
Quadrupole “collimates” atoms in one polarization state, pushes others radially away.
RGAs measure beam profiles.
Beam Direction
Not to scale

## Slide 8: Component Images
Needle Nozzle
Skimmer
Heat Shield
Quadrupole

## Slide 9: Original Configuration
Originally, there were large amounts of background gas exiting the quadrupole.
  Background is potentially unpolarized.
Saw that there was no direct pumping on the inside of the heat shield (copper colored).
Background gas was just as likely to go downstream as to enter a pump.
Pump
Pumps

## Slide 10: Reconfigured Pumping
Moved a pumping port to the bottom.
Added heat shield extension.
Heat shield is now a separate volume.
This change increased the signal gas to background gas by a factor of ~3.

## Slide 11: Needle Nozzle Simulations
Too computationally intense to fully simulate.
  Assume beam is always in molecular flow.
  Ignore background gas.
    Stop tracking particles that collide with walls.
Track transmission, determine what fraction of particles are “lost” in each chamber
Needle Nozzle:
  Transmission: ~0.01%
  Simulated polarization of transmitted particles: >99.9%
Plot tracking particles in the spin state accepted by the magnetic field.

## Slide 12: Needle Nozzle Measured Profiles
Beam profiles were taken by both the upstream (US) and downstream (DS) residual gas analyzers (RGAs).
Beam profiles were taken for multiple 3He inlet pressures.
Extract signal to background from the beam profile.
Sample profile at upstream RGA measured for a 240 mtorr 3He inlet pressure provided to the needle nozzle (measured at room temperature).

## Slide 13: Needle Nozzle Signal to Background
Signal divided by total (%) at upstream RGA.
New maximum: ~70%.
Previous maximum: ~40%.
Reconfiguring the pumping massively increased the signal to background.
We would like to increase it further though.

## Slide 14: Microchannel Plate?
Angular distributions some distance from nozzle:
  Above: Experimentally measured distribution for multi-capillary array with channel dimensions comparable to a microchannel (MC) plate (F Rugamas et al 2000 Meas. Sci. Technol. 11 1750).
    Different symbols indicate different nozzle pressures
  Below: A general cos(theta) distribution which is the kind of distribution governing the hypodermic needle nozzle at operating pressures. (from simulation)
MC plate should have a far sharper peak than the old nozzle.

## Slide 15: Microchannel Plate Nozzle
More pointed distribution improves system in two ways:
  Reduces necessary minimum operating pressure
  Reduces fraction of gas available to be converted into background
MC plate nozzle
  Simulated Transmission: 0.25%
  Simulated Polarization: >99.9%
MC Plate
Needle Nozzle

## Slide 16: MC Plate Initial Results
Signal divided by total (%) at upstream RGA for MC plate.
Did not initially see much improvement.
Check nozzle alignment.

## Slide 17: Check MC Plate Alignment
Able to crudely change nozzle alignment.
Horizontally translated the nozzle, keeping distance from quadrupole fixed.
Were able to slightly increase the signal to background.
Comparing to simulations, this suggests that the nozzle has an angular misalignment <1 degree.

## Slide 18: Skimmer Optimization
Once the nozzle is properly aligned it may be necessary to change the skimmers.
The original skimmers are less effective with the new nozzle.
Atoms lost to Quadrupole, already being in the second to last chamber, are most likely to become background gas.
Maximizing the Transmission/Rejection ratio, in the quad, will likely improve the signal to background.
Position | Fraction of Gas
Lost on Skimmer 1 | 95.871%
Lost on Skimmer 2 | 3.947%
Rejected by Quad Field | 0.0984%
Transmitted by Quad Field | 0.0098%
Position | Fraction of Gas
Lost on Skimmer 1 | 85.409%
Lost on Skimmer 2 | 12.272%
Rejected by Quad Field | 1.491%
Transmitted by Quad Field | 0.258%
Original Nozzle with Original Skimmers
MC Plate Nozzle with Original Skimmers
From Simulations

## Slide 19: Summary and Future Work
A 3He atomic beam source has been tested and modified.
Currently working to further reduce the background being emitted.
Most recent attempt involves a new nozzle with a more pointed velocity distribution.
This new nozzle has some alignment issues which are being explored as of this presentation.
Future optimizations for the skimmers may further reduce background.
These require major changes, which can most efficiently be performed as part of rotating the apparatus into a vertical orientation.

## Slide 21: Needle Nozzle Simulated Profiles
Simulated profile is similar to a Gaussian distribution but is not one.