## Slide 1: Measuring magnetic fields with mercury vapor for the search of the neutron Electric Dipole Moment
Katia Michielsen, LPSC Grenoble, Ultra Cold Neutrons
10 April 2025

## Slide 2: Outline
Context
Overview of the n2EDM experiment
Deriving the precession frequency and its precision (PSI)
Understanding the mercury-light interaction more deeply (LPSC)

## Slide 3: I - Context
Particle physicists have come up with “the Standard Model”.
very successful!!
but flaws (gravity, 5% of the energy density of the universe , matter-antimatter asymmetry)
-> There is new physics. Beyond Standard Model
Physicists pushing the high energy frontier
Physicists pushing the precision frontier at low energy
I - Context
[1] https://wmap.gsfc.nasa.gov/universe/uni_matter.html
[1] Energy density content of the universe
neutron Electric Dipole Moment (nEDM)

## Slide 4: What is the magnetic moment?
Non-relativistic limit of the fermion-photon interaction:
Results is a “torque” on the spin, resulting in Larmor precession
Larmor precession of a spin in a magnetic field
I - Context
[1] https://physicsworld.com/a/how-the-stern-gerlach-experiment-made-physicists-believe-in-quantum-mechanics/
Spins couple to magnetic fields with strength

## Slide 5: What is an Electric Dipole Moment?
Spins could couple to electric fields. The electric dipole moment (EDM) is this coupling strength .
Non-relativistic limit of the fermion-photon interaction:
Larmor precession of a spin in a magnetic field
Precession of a spin in an electric field?
Spins couple to magnetic fields with strength
I - Context

## Slide 6: An EDM violates time reversal symmetry.
CPT symmetry: Lorentz invariance of the theory (imposed).
T violation <-> CP violation
T-invariant
not T-invariant
Observable = magnetic moment
Observable = electric moment d
I - Context
CP violation is one of the Sakharov criteria for matter anti-matter asymmetry during baryogenesis.

## Slide 7: Scenarii for the nEDM
From the Standard Model we expect
I - Context
Measurement compatible with zero:
[1]
sensitive probe to new physics.
The better the sensitivity, the higher the mass scale (EFT).
probes mass scales of >1 PeV.
Constrains the CP violation in the strong sector “strong CP problem”
Could be explained by the axion, also a good candidate for dark matter.
Non-zero measurement:
new physics!
At a mass scale depending on its size.
CP-violating interaction!
Would explain part of matter-antimatter asymmetry during baryogenesis.
might still be zero.
weak interaction
strong interaction
new physics?
[1] Measurement of the Permanent Electric Dipole Moment of the Neutron, nEDM collaboration, 2020

## Slide 8: II- How do we measure the neutron EDM at
I – Context II – n2EDM

## Slide 9: How do you measure the coupling of the spin to the electric field?
Ultra Cold Neutrons (UCN)
(, affected by gravity and storable!)
Long interaction time: minutes.
Small neutron density.
Larmor precession frequency measurement.
in a known magnetic field and strong electric field.
Ramsey method of oscillatory fields to count the number of spin up or down after precession.
Requires control of the magnetic field !!
I – Context II – n2EDM

## Slide 10
UCN source
Active magnetic shield
Passive magnetic shield
Vacuum vessel with
Precession chambers
Superconducting
magnet
UCN spin detectors
Proton beam
Pb target
I – Context II – n2EDM
Deuterium

## Slide 11
I – Context II – n2EDM

## Slide 12
Top ground electrode
Bottom ground electrode
HV electrode
Vacuum vessel
UCN guide
Coil generating B field
I – Context II – n2EDM

## Slide 13
Top ground electrode
Bottom ground electrode
HV electrode
Vacuum vessel
UCN guide
Coil generating B field
B
E
E
I – Context II – n2EDM
Polarization cell

## Slide 14: Control the magnetic field: quantum co-magnetometry
Neutrons and mercury are stored in the same volume, at the same time.
Optical (continuous!) reading of the mercury spin precession by 254 nm laser light.
Mercury has a better limit on its EDM.
I – Context II – n2EDM
neutrons
mercury

## Slide 15
B
E
E
neutrons
mercury
I – Context II – n2EDM
Bottom chamber

## Slide 16
B
E
E
neutrons
mercury
+
I – Context II – n2EDM

## Slide 17: III - How to assert the uncertainty of the precession frequency in the mercury co-magnetometer?
I – Context II – n2EDM III- Hg magnetometer
mercury

## Slide 18: Precession signal:
Hg in the polarization chamber
Precession
Spin flip
Emptying
Hg density
Vapour spin polarisation along light propagation axis
Zoomed in
Zoomed in
I – Context II – n2EDM III- Hg magnetometer
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
spin during precession
oscillates at Larmor frequency, so does the transmitted power.

## Slide 19: Precession signal:
Hg in the polarization chamber
Precession
Spin flip
Emptying
Zoomed in
Zoomed in
I – Context II – n2EDM III- Hg magnetometer
1/2
1/2
-1/2
-1/2
spin 1
Excited states
Ground states
spin during precession
oscillates at Larmor frequency, so does the transmitted power.
Hg density
Vapour spin polarisation along light propagation axis

## Slide 20: Fitting the polarization over the full precession time (minutes!)
Derive and fit
Output of my analysis code:
-> tightness of chambers
-> mercury density
-> initial polarization of mercury
-> depolarization time of mercury
-> noise level
-> precession frequency
Combine two signals oscillating out of phase to cancel the common noise.

## Slide 21: What is the precision of the frequency measurement?
Data = exponentially damped oscillation.
Estimator = frequency ~ 7 Hz
Fit is minimizing , assuming white noise.
Defining the effective white noise = Power Spectral Density around 7 Hz, uncertainty is in agreement with the theoretical limit (Cramer Rao Lower Bound)
Status today: uncertainty , 4 times too large…
Fourier transform
Fourier transform, zoom
I – Context II – n2EDM III- Hg magnetometer
Noise is not white

## Slide 22: Challenge: can we measure the earth rotation?
The lab referential is rotating because earth is rotating.
Neutron spins precess in the opposite direction than mercury spins: one frequency is enhanced, the other one is diminished.
Measured period: hour.
in the lab!
Earth rotation
I – Context II – n2EDM III- Hg magnetometer
neutrons
mercury

## Slide 23: IV - Deeper understanding of the mercury-light absorption at L4M, LPSC
I – Context II – n2EDM III- Hg magnetometer IV – Hg-light interaction

## Slide 24: Atom-light interaction
With constant unpolarized cross section , but…
  Affected by light intensity (saturated absorption)
  Affected by the laser beam diameter
1/2
1/2
-1/2
-1/2
Ground states
Excited states
spin 1
Three time constants:
Lifetime of the excited state
(Excitation rate
Beam crossing time
6 regimes...
Quarz cell containing mercury vapor
Laser beam
I – Context II – n2EDM III- Hg magnetometer IV – Hg-light interaction
[1] observation by Benoit Clement while measuring the cross section of at L4M
Dark state

## Slide 25: Experimental setup:We look for absorption as a function of power with a focused or unfocused light beam
PD
Polarised light
199Hg cell
Lens
Variable light attenuation
Coils.
field
x axis, light propagation
(GHz), frequency difference to the resonance frequency of the transition
Relative transmitted light
UV laser, scanning frequency
Lens and Hg cell

## Slide 26: Experimental setup:We look for absorption as a function of power with a focused or unfocused light beam
PD
Polarised light
199Hg cell
Lens
Variable light attenuation
Coils.
field
x axis, light propagation
(GHz), frequency difference to the resonance frequency of the transition
Relative transmitted light
UV laser, scanning frequency
Lens and Hg cell

## Slide 27: Experimental setup:We look for absorption as a function of power with a focused or unfocused light beam
PD
Polarised light
199Hg cell
Lens
Variable light attenuation
Coils.
field
x axis, light propagation
(GHz), frequency difference to the resonance frequency of the transition
Relative transmitted light
UV laser, scanning frequency
Lens and Hg cell
Need a better understanding of saturated absorption: analytical computation.

## Slide 28: Saturated absorption…
Link the population evolution of Hg atoms to the absorption of light
Take into account the intrinsic absorption cross section, the Doppler shift due to the atoms’ velocity, the beam crossing history
Derive with respect to power…
spin 1
spin 1
OR
I – Context II – n2EDM III- Hg magnetometer IV – Hg-light interaction
1/2
1/2
-1/2
-1/2
Ground states
Excited states
spin 1
1/2
1/2
-1/2
-1/2
Ground states
Excited states
spin 1
Stimulated excitation
Stimulated de-excitation
Population evolution for the isotope
to
while crossing the laser beam.

## Slide 29: Summary, ongoing work and perspectives
Mercury precession frequency (n2EDM experiment at PSI)
  Developed a precession frequency analysis. Relative precision .
  Comparison of two different analyses (other PhD student at PSI), study of the biases
  Exploit the frequency ratios as a function of magnetic gradients (energy spectrum of the neutrons, residual gradients), Morgan Ferry
Mercury – light interaction (L4M at LPSC)
  Effect of the laser beam size on the cross section: odd and even isotopes
  Effect of the incoming light polarization on saturated absorption
I – Context II – n2EDM III- Hg magnetometer IV – Hg-light interaction

## Slide 30
Thank you for your attention!
Questions?
Many thanks to
Francis Vezzu, Johann Menu, Julien Marpaud, Jérome Fulachier
Stéphanie Roccia, Benoit Clément, Dominique Rebreyand, Guillaume Pignol, Valentin Czalmer and Morgan Ferry

## Slide 31: Additional slides

## Slide 32: Experimental investigation at L4M (LPSC)
(GHz), frequency difference to the resonance frequency of the transition
Relative transmitted light
Absorption as a function of power, regular beam
Looking two different peaks, with and without a dark state,
effect of the dark state on the absorption? (expected stronger effect for smaller laser beam).
Nothing clear… But we noticed that
The power dependence is different for different beam diameters
We will not get rid of saturated absorption
Linear
Circular +
Circular -
Computed the analytical expression for saturated absorption

## Slide 33: Saturated absorption…
1/2
1/2
-1/2
-1/2
Energy levels of one transition contributing to the absorption at 253.7 nm. to .
spin 1
1/2
1/2
-1/2
-1/2
spin 1
Energy levels of one transition contributing to the absorption at 253.7 nm. to .
spin 1
spin 1
OR
I – Context II – n2EDM III- Hg magnetometer IV – Hg-light interaction

## Slide 34: But also one of the most sensitive probes to new physics
Figure by Adam Falkowski, Lectures on SMEFT EPJC (2023)
Comparison of the sensitivity of different observables with the Standard Model Effective Field Theory: all coupling constants to one.
Example: dimension 6 operators
Set to 1
derived
measured

## Slide 35: Current most sensitive measurement: nEDM at PSI
Measurement of the Permanent Electric Dipole Moment of the Neutron, nEDM collaboration, 2020
In n2EDM:
Increase satistics in larger volume with a better controlled magnetic field: simultaneous measure is two chambers for both electric polarities.
Same principle of co-magnetometry: Hg and Cs.
Homogeneity of B
Number of neutrons
E
B

## Slide 36: Neutron spin gymnastics: Ramsey.
Ramsey method of oscillatory fields, counting spin up and down to derive the precession frequency:
The nEDM is derived from the frequency difference in opposite electric fields.

## Slide 37: Goal precision VS performances
Mercury frequency error should not impact the nEDM error more than 2 percent:
And , precession time T = 180s and number of neutrons ~30000 gives
Relative error

## Slide 38: Photographs of the L4M setup

## Slide 39
B
E
E
neutrons
mercury
I – Context II – n2EDM

## Slide 40: Magnetic field measurements
Classes of magnetometers:
Need something that interacts with the magnetic field: pick-up coils, resistance (Hall effect)
-> charge, ferromagnetic materials, spins
Atoms, polarize their spins. Observe their Larmor precession.
Atom-Light interaction spin dependent.

## Slide 41: How to measure the magnetic field: mercury precession
UV light at 254 nm.
Transmission is affected by the spin orientation.
Intensity is oscillating if the spin precesses.
This frequency is proportional to the magnetic field.

## Slide 42: Neutron frequency measurement: magnetic field stability.
Co-magnetometry technique to correct for magnetic field fluctuations, mercury.
Neutron: destructive spin measurement.
Mercury: non destructive spin measurement.
Measurement of the Permanent EDM of the Neutron, 2020

## Slide 43: Cramer Rao Lower Bound vs fitted uncertainty

## Slide 44: Formation of matter in the early universe: the mystery of baryon asymmetry.
Our surrounding environment is made of matter. Charged particles have associated anti-matter particles with opposite charge (same mass, spin etc…).
Sakharov conditions
Baryon number violation
C violation and CP violation
Out of thermal equilibrium
A non-zero EDM would also be a source of CP violation.
I - Context
Subatomic physics AND cosmology?!

## Slide 45: Simultaneous precession signals in the top and bottom storage chambers.

## Slide 46: Spin-dependent absorption
The cross section is characteristic of the atom-light interaction.
For circularly polarized light, and an atomic vapour with polarized spins
With the unpolarized cross-section.
Larmor precession: oscillates at Larmor frequency, so does the transmitted power.
1/2
1/2
-1/2
-1/2
spin 1
Energy levels of one transition contributing to the absorption at 253.7 nm. to .
Excited states
Ground states
I – Context II – n2EDM III- Hg magnetometer

## Slide 48: Regular beam (no lens)
592: power-meter range 54 uW. (fixed wheel at 240 degrees)
594: power-meter range 540 uW. (fixed wheel at 300 degrees)
595: power-meter range 540 uW. (fixed wheel at 0 degrees)
596: same, with Sigma+ additionnally

## Slide 49: Sigma-, Pi. Run 592, 30/09/24 Regular.

## Slide 50: Sigma-, Pi and Sigma+ Run 596, 30/09/24, Regular.

## Slide 51: Focused beam (lens, 300 mm focal length)
591: power-meter range 54 uW. (fixed wheel at 240 degrees)
597: power-meter range 540 uW. (fixed wheel at 300 degrees)

## Slide 52: Sigma-, Pi Run 591, 26/09/24 Focused.

## Slide 53: Sigma-, Pi , Sigma+ Run 597, 01/10/24, Focused