## Slide 1: n(2)EDM and polarized ultracold neutrons
Efrain Segarra
Mar 5, 2026
EDMs 2026

## Slide 2: Previous speakers already reviewed a lot!

## Slide 3: Previous speakers already reviewed a lot!
You’re all experts now!

## Slide 4: Requirements for nEDM sensitivity of
More neutrons (bigger volume, more intense source, better transport and polarization, …)
Better control of (uniformity and stability)
+ systematics
Phys. Rev. Lett. 124, 081803 (2020)

## Slide 5: Overview of the n2EDM experiment
PSI (CH)

## Slide 6
sD2 UCN source
5T superconducting magnet

## Slide 7: Split UCN population to two chambers

## Slide 8: Store in fields (Ramsey sequence)

## Slide 9: Spin-sensitive counting

## Slide 10: Thermally controlled room
Active shielding
Passive shielding
1 main coil + 63 correcting coils + transport coils

## Slide 11: Simultaneous* precession chambers: cm, cm
Neutrons
*But slightly different energy spectrum!

## Slide 12: Simultaneous* precession chambers: (+Hg co-mag, Cs OPMs)
Neutrons
TOP
BOT
*But slightly different energy spectrum!

## Slide 13: Measurement principle
Fill polarized UCNs into chamber
Perform Ramsey sequence ( flip, precess, flip)
Measure spin asymmetry in top and bottom ()
Repeat!

## Slide 14: So what do we need?
High spin-polarization (and long coherence time)
Optimized statistics / interaction time
High electric field
+ control systematics…

## Slide 15: Today I’ll show the ingredients of n2EDM + new results
UCNs total
 working on it now

## Slide 16: : transport, store, detect polarized UCN
5T
% polarization exiting 5T magnet
(220 neV UCNs in guides)

## Slide 17: : transport, store, detect polarized UCN
% polarization exiting 5T magnet
need to maintain spin
C. Crawford et al.

## Slide 18
PMT
PMT
He3 + CF4 gas detector
3-PMT coincidence readout
: transport, store, detect polarized UCN

## Slide 19: Simultaneous spin-sensitive detection
He3 + CF4 gas detector
3-PMT coincidence readout
Saturated (magnetized) Fe foil used for spin-discrimination
()
detector
detector
Fe foil
SF ON
Fe foil
SF OFF

## Slide 20: What is maximum we could see?
(counts/s)
“Direct dump” to detectors (no storage)
Integrate and calculate spin asymmetry

## Slide 21: High efficiency () spin-analysis possible
~90%
Top Detectors
Bot Detectors
Spin asymmetry
Integrating time bins
“Direct dump” to detectors (no storage)

## Slide 22: High efficiency () spin-analysis possible
Reliable spin-transport / no strong depolarization mechanisms
Limit of O(90%) ensemble polarization (measured up to 95%)
~90%
Top Detectors
Bot Detectors
Spin asymmetry
Integrating time bins
“Direct dump” to detectors (no storage)

## Slide 23: High efficiency () spin-analysis possible
Reliable spin-transport / no strong depolarization mechanisms
Limit of O(90%) ensemble polarization (measured up to 95%)
~90%
Top Detectors
Bot Detectors
Spin asymmetry
Integrating time bins
“Direct dump” to detectors (no storage)
Faster neutrons
that are not storable

## Slide 24: Can we maintain polarization during storage?
Reliable spin-transport / no strong depolarization mechanisms
Limit of O(90%) ensemble polarization (measured up to 95%)
~90%
Top Detectors
Bot Detectors
Spin asymmetry
Integrating time bins
“Direct dump” to detectors (no storage)
Faster neutrons
that are not storable

## Slide 25: : transport, store, detect polarized UCN
TOP
BOT

## Slide 26: What detectors see in a measurement cycle
TOP
BOT

## Slide 27
“FILLING”
“COUNTING”
“STORAGE”
Integrate for
spin asymmetry

## Slide 28: Storage time of UCN in our chambers
Normalized UCN counts
much shorter than lifetime

## Slide 29: Depolarization mechanisms during storage
depends on material,
depends on field uniformity

## Slide 30: Magnetic-field uniformity of n2EDM (64 coils + quasistatic shielding from AMS+MSR + many PhDs, postdocs, …)
See poster of Valentin
+ more for systematics…
Rev. Sci. Instrum. (2022)
Eur. Phys. J. C 83, 1061 (2023)
Eur. Phys. J. C 84, 18 (2024)
Eur. Phys. J. C 85, 202 (2025)

## Slide 31: Magnetic-field uniformity of n2EDM (64 coils + quasistatic shielding from AMS+MSR + many PhDs, postdocs, …)
See poster of Valentin
Field requirements (for statistics)
Intrinsic depolarization
Double-chamber measurement
Field stability over minutes
+ more for systematics…
Rev. Sci. Instrum. (2022)
Eur. Phys. J. C 83, 1061 (2023)
Eur. Phys. J. C 84, 18 (2024)
Eur. Phys. J. C 85, 202 (2025)

## Slide 32: Longitudinal depolarization time in our chambers negligible for reasonable storage times
(TOP suffered from magnetic contam. of Hg)

## Slide 33: Transverse depolarization also small!
First Ramsey measurement in n2EDM in 2023
Polarization after 180s storage and detection still O(90%)!

## Slide 34: Transverse depolarization also small!
First Ramsey measurement in n2EDM in 2023
Polarization after 180s storage and detection still O(90%)!
Visible Ramsey curve from overnight measurement without any co-magnetometer!

## Slide 35: Repeat for other precession times to extract
(TOP suffered from magnetic contam. of Hg)

## Slide 36: High visibility thanks to robust control
UCNs total
 working on it now

## Slide 37: Distracting side-quest about depolarization

## Slide 38: We can leverage depolarization as a tool to learn about stored UCN energy spectrum

## Slide 39: Measure depolarization rate from many gradients and simultaneously fit data
fits

## Slide 40: Can extract stored spectrum and specularity of storage chambers
Specular (0)
Publication under review at PRL; arXiv 2511.06884
Diffuse (1)

## Slide 41: Can use to calculate systematic frequency shift from sampling difference in top, bottom
Specular (0)
Publication under review at PRL; arXiv 2511.06884
Diffuse (1)
See poster of Morgan

## Slide 42: Back to the main questline…
UCNs total
 working on it now

## Slide 43: Issues with coatings in storage chamber ()
n2EDM Design
End of 2024
Initial

## Slide 44: Now we are close to design! (from a lot of redesign and effort)
n2EDM Design
End of 2024
Initial
2025
Changed from rexolite to quartz and recoated electrodes
issue with O-ring and HV event

## Slide 45: Now we are close to design! (from a lot of redesign and effort)
35s filling time

## Slide 46: Goals of n2EDM to reach
UCNs total
 working on it now
For n2EDM, optimal statistical measurement at s
(does not consider
co-magnetometer performance)

## Slide 47: So what about the electric field? Goal of 15 kV/cm
UCNs total
 working on it now

## Slide 48: Magnetic field as seen by Hg co-magnetometer
HV spark event
0
20
40
60
0
2
4
6
8
10

## Slide 49: Magnetic field as seen by Hg co-magnetometer
Can stably run up to kV/cm
kV/cm issues with leakage current
kV/cm issues with sparks & leakage current
HV spark event
0
20
40
60
0
2
4
6
8
10

## Slide 50: Working on it 
UCNs total
 working on it now

## Slide 51
Still took unblinded nEDM dataset in 2025
Statistical sensitivity
Issue of HV performance
Concern of magnetizable material
Incomplete monitoring of gradients

## Slide 52
What we see with neutrons … but no 
nEDM?!

## Slide 53
What we see with neutrons … but no 
Talk by Katia about co-magnetometry

## Slide 54
But , so we can look at difference
(mHz)
(pT/cm)

## Slide 55
Outlook for 2026
Address HV performance
Finish commissioning of external (Cs) magnetometers for systematic control
Start blinded data-taking in June

## Slide 56: Thank you!
Efrain Segarra
Mar 5, 2026
EDMs 2026