## Slide 1: Saclay Test Facilities

## Slide 2: Cryomagnetism

## Slide 3: Cryomagnetism

## Slide 4: Superconducting RF

## Slide 5: Superconducting RF

## Slide 6: Clean Room Layout
ISO 7
(class 10 000)
28 m2
5.92 m x 4.72 m
ISO 5
(class 100)
38 m2
7.72 m x 4.72 m
ISO4 (Class 10)
112 m²
7.8 m x (6.6+7.8) m
15.6 m

## Slide 7: Cryogenics

## Slide 8: High RF Power
Two 352 MHz klystrons of 1 MW CW (LEP) on loan from CERN
One 1.3 GHz klystron, 1.5 MW, 1ms 10Hz pulsed (Thales)
One 704 MHz klystron, 1MW pulsed (CPI)
One 704 MHz IOT, 80 kW CW