## Slide 1: Direct sampling of RF signals in accelerators
Samer Bou Habib
Notes: How to edit the title slide
Upper area: Title of your talk, max. 2 rows of the defined size (55 pt)
Lower area (subtitle): Conference/meeting/workshop, location, date, your name and affiliation, max. 4 rows of the defined size (32 pt)
Change the partner logos or add others in the last row.

## Slide 2: Agenda
Introduction
Under Sampling
DS vs DWC
Projects
Summary

## Slide 3: Introduction - Downconversion
Master Oscillator (Reference)
ADC
LO
ADC
ADC
LO
ADC
LO
RF
To Digital System
IF
CLK
CLK generation and distribution
LO generation and distribution

## Slide 4: Introduction – Direct Sampling
RF
To Digital System
Master Oscillator (Reference)
ADC
CLK generation and distribution
CLK
LO
LO generation and distribution

## Slide 5: Introduction – Direct Sampling
RF
To Digital System
Master Oscillator (Reference)
ADC
CLK generation and distribution
CLK

## Slide 6: Introduction – Direct Sampling
RF
To Digital System
Master Oscillator (Reference)
ADC
Reference distribution
CLK generation

## Slide 7: UnderSampling
ADC BW > Fin
Fs > 2*BW

## Slide 8: DS vs. DWC
Main advantages
No LO generation or distribution, No down-converters
Simpler system
Smaller system
Cheaper system
High Sampling rates
Faster system clock
Faster calculations
Much lower Latency
Main disadvantages
Limited resolution of Fast ADCs (partially to be compensated digitally at the cost of latency)
More careful design needed for CLKs and input circuits
Elimination of problems related to LO and DWC
Drifts
Nonlin-earities
Matching
Noise
Drifts
More time for processing

## Slide 9: R&D and Implementations at DESY
ATCA Fast ADC board
DAMC-DS800
  KLM
  HOM
  LLRF?
...

## Slide 10: FastADC ATCA board
ATCA Fast Digitizer Card
8 analog channels
  14-bit, 1.4GHz BW@ 400 MSPS
  12-bit, 2.3GHz BW@ 500 MSPS

## Slide 11: FastADC ATCA board

## Slide 12: FastADC - Measurements
1MHz BW measurement:
  14-bit, 1.3GHz input @365.625 MSPS
    <0.011% relative amplitude accuracy
    <0.07˚ phase accuracy
  12-bit, 1.3GHz input @487.5 MSPS
    <0.012% relative amplitude accuracy
    <0.021˚ phase accuracy

## Slide 13: DAMC-DS800
AMC Fast Digitizer Card
8 analog channels (AC or DC) up to 2.7GHz @ 800 MSPS 12-bit ADCs
4 DACs
SRAMs for all ADC channels

## Slide 14: ADC tests (Evaluation board)
Rms avg demodulation (10 MHz BW) |  | Rms avg demodulation (1 MHz BW) |  | Rms avg demodulation (100 kHz BW) | 
Amplitude | Phase | Amplitude | Phase | Amplitude | Phase
0,0016% | 0,077˚ | 0,0013% | 0,062˚ | 0.0001% | 0.0045˚

## Slide 15: ADC tests (Evaluation board)
Rms avg demodulation (10 MHz BW) |  | Rms avg demodulation (1 MHz BW) |  | Rms avg demodulation (100 kHz BW) | 
Amplitude | Phase | Amplitude | Phase | Amplitude | Phase
0,0016% | 0,077 ˚ | 0,0013% | 0,062˚ | 0.0001% | 0.0045˚

## Slide 16: DAMC-DS800

## Slide 17: DRTM-KLM
12-bit Fast ADCs (DS800) @ 780 MSPS
  6 RF Channels @ 1.3GHz
  2 DC Channels
2 „Fast” signals with low resolution requirements
2 „Slow” signals

## Slide 18: DRTM-KLM
RF1
..
..
RF8
REF (RF-backplane)
6
8
PLL
+Distribution
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
RF Channel
DC Channel
DC Channel
„Slow „DC Channel
„Slow” DC Channel
Fast Channel
Fast Channel
~200MSPS 8-bit
10MSPS 16-bit
FPGA
RF- Gate

## Slide 19: DRTM-HOM
8 Channels
1.3, 1.7 and 2.4 GHz each

## Slide 20: DRTM-HOM
RF1
..
..
RF8
REF (RF-backplane)
REF FP
HOM FILTER
HOM FILTER
HOM FILTER
6
8
HOM FILTER
PLL
+Distribution
CLK out

## Slide 21: HOM Filter Design
IN
OUT
Attenuator
VIA
2.4 GHz
1.7 GHz
1.3 GHz

## Slide 22: HOM Filter Characteristics

## Slide 23: Usage in LLRF
Feasibility
Performance Tests

## Slide 24
Thank you for your attention
S.BouHabib@stud.elka.pw.edu.pl

## Slide 25: HOM Filter Design
f1=1300 MHz, BW=37 MHz (at RL=-20 dB), IL0=4 dB, n=4 stripline, substrate height 0.204 mm, size 35x35 mm
f2=1700 MHz, BW=55 MHz (at RL=-20 dB), IL0=4.5 dB, n=4 microstrip, substrate height 0.204 mm, size 45x35 mm
f3=2400 MHz, BW=74 MHz (at RL=-20 dB), IL0=4 dB, n=4 microstrip, substrate height h1=0.204 mm, h2=0.25 mm size 45x25 mm
(2 and 3 together on the same layer) size 45x60 mm
all filters (2 and 3 up, 1 down) size needed 55x70 mm - (max)